## Capital Needs-Reserve Schedule
Building Name
Year Built/Rehabbed
Age of Bldg
Number of Units
Year of Analysis | [7 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Component | Description | Effective Useful Life | Remaining Useful Life | Quantity | Unit | Unit Cost | Total Cost (in 2023 $) | 0 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Building Systems
Plumbing supply, waste, vent pipes, valves |  | 100 | 100 |  | system |  | 0
Boiler |  | 30 | 10 |  | item |  | 0
Hot Water Heater |  | 25 | 5 |  | item |  | 0
Sewer & storm drainage |  | 100 | 80 |  | system |  | 0
Electrical distribution |  | 50 | 30 |  | system |  | 0
Fire alarm / Life Safety / Security |  | 25 | 25 |  | system |  | 0
Fire sprinklers |  | 50 | 30 |  | system |  | 0
HVAC equipment- radiators & thermostats |  | 20 | 20 |  | item |  | 0
0
Exterior |  |  | 0
Exterior envelope (paint, sealants) |  | 30 | 30 |  | SF |  | 0
Exterior envelope (Brick, sealants, tuckpointing) |  | 40 | 40 |  | SF |  | 0
Exterior floor tile @ entry |  | 50 | 50 |  | SF |  | 0
Windows - New (includes new screens) |  | 30 | 30 |  | EA |  | 0
Windows - existing (restoration- includes new screens) |  | 15 | 15 |  | EA |  | 0
Doors (repaint and minor repairs) |  | 30 | 30 |  | EA |  | 0
Roof: sheet membrane |  | 20 | 20 |  | SF |  | 0
Roof: asphalt shingles |  | 20 | 20 |  | SF |  | 0
Roof components |  | 20 | 20 |  | group |  | 0
Exterior lighting |  | 15 | 15 |  | item avg |  | 0
Exterior railing |  | 30 | 30 |  | system |  | 0
0
Basement |  |  | 0
Painting (walls and ceiling) |  | 10 | 10 |  | SF |  | 0
Interior Lighting |  | 25 | 10 |  | EA |  | 0
Floor covering |  | 15 | 15 |  | SF |  | 0
|  | 30 | 30 |  | SF |  | 0
|  | 7 | 7 |  | SF |  | 0
Appliances |  | 15 | 15 |  | EA |  | 0
|  | 15 | 1 |  | EA |  | 0
|  | 15 | 15 |  | EA |  | 0
Kitchen Cabinets |  | 20 | 20 |  | LF |  | 0
|  | 10 | 10 |  | LF |  | 0
Kitchen fixtures (sink, faucet, disposal) |  | 20 | 20 |  | group |  | 0
Bathroom Fixtures (Lav, faucet, toilet, tub/shwr, hdwr) |  | 25 | 1 |  | ea |  | 0
|  | 25 | 25 |  | ea |  | 0
|  | 25 | 25 |  | ea |  | 0
Bathroom surfaces (tub / shower surround) |  | 15 | 6 |  | SF |  | 0
HVAC |  | 15 | 15 |  | group |  | 0
Window coverings |  | 10 | 10 |  | EA |  | 0
Interior Doors- new & restoration |  | 30 | 30 |  | EA |  | 0
Stair components |  | 20 | 20 |  | LF |  | 0
0
First Floor |  |  | 0
Painting (walls and ceiling) |  | 10 | 10 |  | SF |  | 0
Interior Lighting |  | 25 | 10 |  | EA |  | 0
Floor covering |  | 15 | 15 |  | SF |  | 0
|  | 30 | 30 |  | SF |  | 0
|  | 30 | 30 |  | SF |  | 0
|  | 7 | 7 |  | SF |  | 0
Appliances |  | 15 | 15 |  | EA |  | 0
|  | 15 | 15 |  | EA |  | 0
|  | 15 | 1 |  | EA |  | 0
Kitchen Cabinets, Counter, Backsplash |  | 20 | 20 |  | LF |  | 0
|  | 10 | 10 |  | LF |  | 0
|  | 10 | 10 |  | LF |  | 0
Kitchen fixtures (sink, faucet, disposal) |  | 20 | 20 |  | group |  | 0
Bathroom Fixtures |  | 25 | 1 |  | ea |  | 0
|  | 25 | 25 |  | EA |  | 0
|  | 25 | 25 |  | EA |  | 0
Bathroom surfaces (tub / shower surround) |  | 15 | 15 |  | SF |  | 0
HVAC |  | 15 | 15 |  | group |  | 0
Window coverings |  | 10 | 10 |  | EA |  | 0
Interior Doors |  | 30 | 11 |  | EA |  | 0
Stair components |  | 10 | 10 |  | LF |  | 0
Second Floor |  |  | 0
Painting (walls and ceiling) |  | 10 | 10 |  | SF |  | 0
Floor covering |  | 15 | 15 |  | SF |  | 0
|  | 30 | 30 |  | SF |  | 0
Bathroom Cabinets, Counter, Backsplash |  | 20 | 11 |  | LF |  | 0
Bathroom Fixtures |  | 25 | 1 |  | EA |  | 0
|  | 25 | 25 |  | EA |  | 0
|  | 25 | 25 |  | EA |  | 0
Bathroom surfaces (tub / shower surround) |  | 15 | 15 |  | SF |  | 0
Window coverings |  | 10 | 10 |  | EA |  | 0
HVAC |  | 15 | 15 |  | group |  | 0
Interior Doors - New and restoration |  | 30 | 30 |  | EA |  | 0
Stair components |  | 10 | 10 |  | LF |  | 0
| Sub totals each year | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SubTotal with escalation |  |  |  |  | escalation rate | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WA State Sales Tax |  |  |  |  | effective tax rate: | 10.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Capital Expenditure each year | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Reserve Analysis
Replacement Reserve Balance Beg. Of Year | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Earned on Reserve Balance | [5 empty] | interest rate: | 3% | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additions to Replacement Reserves |  | amount per unit: |  |  |  | increase rate: | 3.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expenditures from Replacement Reserve |  | number of units: | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Reserve Balance End of Year | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This list may not be applicable to all properties. This list may be edited to property's unique features.
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter in the planned or expected expenditures for each year.

## qty calcs Bldng. (hidden)
Exterior elevations |  | paint | brick
| N Wall | 436 | 449
| W Wall | 560 | 302
| S Wall | 304 | 330
| E wall | 267 | 738
|  | 1567 | 1819
windows
| Basement | 8
| First | 15
| Second | 15
38
roof | GABLE | 1700
| FLAT | 131.75
0
1831.75
LIGHT FIXTURES
1 | Corridor Entry Vestibule |  |  | Cans | 0
| offices meeting |  |  | troffers | 0
| util |  |  | flour | 0
| bath |  |  | sconce, fan combo | 0
| stairs |  |  | flour | 0
2 | corridor |  |  | cans | 0
| stor mech |  |  | fluor | 0
| laundry |  |  | fluor | 0
| stairs |  |  | fluor | 0
3 | corridor |  |  | cans | 0
| stor mech |  |  | fluor | 0
| laundry |  |  | fluor | 0
| stairs |  |  | fluor | 0
4 | corridor |  |  | cans | 0
| stor mech |  |  | fluor | 0
| stairs |  |  | fluor | 0
5 | stairs |  |  | fluor | 0
| TOTAL FIXTURES |  |  |  | 0

## qty calcs Bsmt. (hidden)
PAINTED SURFACES BASEMENT
LIVING 0105 / KITCHEN 0106 / DINING 0104
| Walls | 134 | lf | 9 | ht = | 1206 | sf
| Clg |  |  |  |  | 465.81 | SF
CLOSET 0104 A
| Walls | 10.75 | lf | 9 | ht = | 96.75 | sf
| Clg |  |  |  |  | 7 | SF
STAFF OFFICE 0102
| Walls | 83 | lf | 9 | ht = | 747 | sf
| Clg |  |  |  |  | 321.5 | SF
MECHANICAL 0101
| walls | 102 | lf | 9 | ht = | 918 | sf
| clg |  |  |  |  | 408.6 | SF
HALL 0112 & STAIR 0113
| walls | 24.9 | lf | 9 | ht = | 224.1 | sf
| walls | 68 | lf | 7.5 | ht = | 510 | sf
| clg |  |  |  |  | 153 | SF
RES MNG BEDROOM 0103, HALL 0107 AND CLOSET 0111
| walls | 91.7 | lf | 7.5 | ht = | 687.75 | sf
| clg |  |  |  |  | 219.3 | SF
BATHROOM 0108 | [7 empty] | shower surround
| walls | 35.5 | lf | 7.5 | ht = | 266.25 | sf | walls | 13 | lf | 97.5 sf
| clg |  |  |  |  | 46 | SF | ht | 7.5 | ft
RES MNG CLOSETS 0109 0110
| walls | 22.5 | lf | 7.5 | ht = | 168.75 | sf
| clg |  |  |  |  | 15.3 | SF
STUDY ROOM 0116
| walls | 41.5 | lf | 7.5 | ht = | 311.25 | sf
| clg |  |  |  |  | 245 | SF
HALL 0114
| walls | 51.3 | lf | 7.5 | ht = | 384.75 | sf
| clg |  |  |  |  | 97 | SF
LAUNDRY 0115
| walls | 41.5 | lf | 7.5 | ht = | 311.25 | sf
| clg |  |  |  |  | 100.7 | SF
STORAGE 0117
| walls | 39 | lf | 7.5 | ht = | 292.5 | sf
| clg |  |  |  |  | 94.5 | SF
STORAGE 0118
| walls | 40 | lf | 7.5 | ht = | 300 | sf
| clg |  |  |  |  | 92.1 | SF
STORAGE 0119
| walls | 32.5 | lf | 7.5 | ht = | 243.75 | sf
| clg |  |  |  |  | 65.8 | SF
TOTAL WALL & CEILING BASEMENT | [5 empty] | 8999.71 | SF
FLOORING
VINYL PLANK
LIVING 0105 / KITCHEN 0106 / DINING 0104 | [5 empty] | 465.81 | SF
CLOSET 0104 A | [5 empty] | 7 | SF
HALL 0112 | [5 empty] | 94 | SF
RES MNG BEDROOM 0103, HALL 0107 AND CLOSET 0111 | [5 empty] | 219.3 | SF
RES MNG CLOSETS 0109 0110 | [5 empty] | 15.3 | SF
Staff Office 0102 | [5 empty] | 322 | sf
STUDY ROOM 0116 | [5 empty] | 245 | SF
HALL 0114 | [5 empty] | 97 | SF
1465.41
CARPET
STAIR 0113 | [5 empty] | 59 | SF
59
LINOLEUM
BATHROOM 0108 | [5 empty] | 46 | SF
46
| TOTAL BASEMENT FLOORING | [6 empty] | 1570.41
COUNTERTOP | [5 empty] | 13'-9 5/8" | LF
LIGHT FIXTURES
1 | Corridor Entry Vestibule |  |  | Cans |  |  | 0
| offices meeting |  |  | troffers |  |  | 0
| util |  |  | flour |  |  | 0
| bath |  |  | sconce, fan combo |  |  | 0
| stairs |  |  | flour |  |  | 0
2 | corridor |  |  | cans |  |  | 0
| stor mech |  |  | fluor |  |  | 0
| laundry |  |  | fluor |  |  | 0
| stairs |  |  | fluor |  |  | 0
3 | corridor |  |  | cans |  |  | 0
| stor mech |  |  | fluor |  |  | 0
| laundry |  |  | fluor |  |  | 0
| stairs |  |  | fluor |  |  | 0
4 | corridor |  |  | cans |  |  | 0
| stor mech |  |  | fluor |  |  | 0
| stairs |  |  | fluor |  |  | 0
5 | stairs |  |  | fluor |  |  | 0
| TOTAL FIXTURES | [5 empty] | 0

## qty calcs 1st Fl (hidden)
PAINTED SURFACES 1ST FLOOR
LIVING 0105
| Walls | 92.25 | lf | 8.3 | ht = | 765.675 | sf
| Clg |  |  |  |  | 443.5 | SF
OFFICE 0202
| Walls | 70.2 | lf | 8.3 | ht = | 582.66 | sf
| Clg |  |  |  |  | 239.2 | SF
LAV 0203
| Walls | 23.5 | lf | 8.3 | ht = | 195.05 | sf
| Clg |  |  |  |  | 30.3 | SF
CLOSET X 2 + CLOSET 0104
| walls | 31.3 | lf | 8.3 | ht = | 259.79 | sf
| clg |  |  |  |  | 17.6 | SF
HALL 0201
| walls | 88.5 | lf | 8.3 | ht = | 734.55 | sf
| clg |  |  |  |  | 207.5 | SF
CLOSET 0211
| walls | 18.15 | lf | 8.3 | ht = | 150.645 | sf
| clg |  |  |  |  | 19 | SF
BEDROOM #1 0210
| walls | 49.25 | lf | 8.3 | ht = | 408.775 | sf
| clg |  |  |  |  | 131.13 | SF
BATHROOM 0213 | [7 empty] | shower surround
| walls | 31 | lf | 8.3 | ht = | 257.3 | sf | walls | 6.67 | 55.36 SF
| clg |  |  |  |  | 59.59 | SF | ht | 8.3
HALL 0208 + DINING 0206 + KITCHEN 0207
| walls | 207 | lf | 8.3 | ht = | 1718.1 | sf
| clg |  |  |  |  | 660 | SF
CLOSET 0212
| walls | 10.5 | lf | 8.3 | ht = | 87.15 | sf
| clg |  |  |  |  | 6.6 | SF
TOTAL WALL & CEILING BASEMENT | [5 empty] | 6974.115 | SF
FLOORING
REFINISHED EXISTING WOOD
BEDROOM #1 0210 | [5 empty] | 131.3 | SF
DINING 0206 | [5 empty] | 305.5 | SF
[6 empty] | 436.8 | SF
NEW WOOD
DINING 0206 | [5 empty] | 28 | SF
[6 empty] | 28 | SF
CARPET
STAIR 0209 | [5 empty] | 74 | SF
LIVING 0105 | [5 empty] | 443.5 | SF
[6 empty] | 517.5 | SF
VINYL PLANK
OFFICE 0202 | [5 empty] | 239.2 | SF
CLOSET X 2 | [5 empty] | 9.4 | SF
CLOSET 0211 | [5 empty] | 19 | SF
HALL 0208 + KITCHEN 0207 | [5 empty] | 354.5 | SF
HALL 0201 | [5 empty] | 207.5 | SF
CLOSET 0212 | [5 empty] | 6.6 | SF
[6 empty] | 836.2 | SF
LINOLEUM
LAV 0203 | [5 empty] | 30.3 | SF
BATHROOM 0213 | [5 empty] | 59.59 | SF
CLOSET 0204 | [5 empty] | 8.2 | SF
[6 empty] | 98.09 | SF
| TOTAL COMMON AREA FLOORING | [6 empty] | 1916.59
COUNTERTOP
NEW CABS | [5 empty] | 6'-2 1/2" | LF
EX. CABS | [5 empty] | 20'-8" | LF
LIGHT FIXTURES
1 | Corridor Entry Vestibule |  |  | Cans |  |  | 23
| offices meeting |  |  | troffers |  |  | 9
| util |  |  | flour |  |  | 9
| bath |  |  | sconce, fan combo |  |  | 2
| stairs |  |  | flour |  |  | 4
2 | corridor |  |  | cans |  |  | 16
| stor mech |  |  | fluor |  |  | 2
| laundry |  |  | fluor |  |  | 2
| stairs |  |  | fluor |  |  | 4
3 | corridor |  |  | cans |  |  | 16
| stor mech |  |  | fluor |  |  | 2
| laundry |  |  | fluor |  |  | 2
| stairs |  |  | fluor |  |  | 4
4 | corridor |  |  | cans |  |  | 14
| stor mech |  |  | fluor |  |  | 3
| stairs |  |  | fluor |  |  | 4
5 | stairs |  |  | fluor |  |  | 2
| TOTAL FIXTURES | [5 empty] | 118

## qty calcs 2nd Fl (hidden)
PAINTED SURFACES 2ND FLOOR
HALL 0301
| Walls | 190 | lf | 8 | ht = | 1520 | sf
| Clg |  |  |  |  | 374 | SF
BEDROOM #3 0303
| Walls | 47.75 | lf | 8 | ht = | 382 | sf
| Clg |  |  |  |  | 130 | SF
CLOSET 0303A
| Walls | 14 | lf | 8 | ht = | 112 | sf
| Clg |  |  |  |  | 10.5 | SF
BEDROOM #4 0304
| walls | 47.75 | lf | 8 | ht = | 382 | sf
| clg |  |  |  |  | 130 | SF
CLOSET 0304A
| walls | 14 | lf | 8 | ht = | 112 | sf
| clg |  |  |  |  | 10.6 | SF
BEDROOM #5 0305
| walls | 51.5 | lf | 8 | ht = | 412 | sf
| clg |  |  |  |  | 154 | SF
CLOSET 0305A
| walls | 14 | lf | 8 | ht = | 112 | sf
| clg |  |  |  |  | 10.6 | SF
BEDROOM #6 0306
| walls | 57.5 | lf | 8 | ht = | 460 | sf
| clg |  |  |  |  | 191 | SF
CLOSET 0306A
| walls | 15 | lf | 8 | ht = | 120 | sf
| clg |  |  |  |  | 12 | SF
BEDROOM #7 0307
| walls | 54 | lf | 8 | ht = | 432 | sf
| clg |  |  |  |  | 180.8 | SF
CLOSET 0308
| walls | 29 | lf | 8 | ht = | 232 | sf
| clg |  |  |  |  | 35.4 | SF
BATHROOM 0311 | [7 empty] | SHOWER SURROUND
| walls | 25.8 | lf | 8 | ht = | 206.4 | sf | WALLS | 10.5 | LF | 84 SF
| clg |  |  |  |  | 40.7 | SF | HT | 8 | FT
BATHROOM 0312
| walls | 32 | lf | 8 | ht = | 256 | sf | SHOWER SURROUND
| clg |  |  |  |  | 58.7 | SF | WALLS | 10.5 | LF | 84 SF
[8 empty] | HT | 8 | FT
BEDROOM #2 302
| walls | 60.75 | lf | 8 | ht = | 486 | sf
| clg |  |  |  |  | 187.8 | SF
TOTAL WALL & CEILING BASEMENT | [5 empty] | 6750.5 | SF |  |  | TOTAL | 168 SF
FLOORING
VINYL SHEET
HALL 0301 | [5 empty] | 374 | SF
BEDROOM #3 0303 | [5 empty] | 130
CLOSET 0304A | [5 empty] | 10.5 | SF
BEDROOM #4 0304 | [5 empty] | 130
CLOSET 0304A | [5 empty] | 10.6 | SF
BEDROOM #5 0305 | [5 empty] | 154 | SF
CLOSET 0305A | [5 empty] | 10.6 | SF
BEDROOM #6 0306 | [5 empty] | 191 | SF
CLOSET 0306A | [5 empty] | 12
BEDROOM #7 0307 | [5 empty] | 180.8
CLOSET 0308 | [5 empty] | 35.4
BEDROOM #2 302 | [5 empty] | 187.8
1010.7
LINOLEUM
BATH 0312 | [5 empty] | 58.7 | SF
BATH 0311 | [5 empty] | 40.7
99.4
| TOTAL FLOORING | [7 empty] | 1110.1
LIGHT FIXTURES
1 | Corridor Entry Vestibule |  |  | Cans |  |  | 23
| offices meeting |  |  | troffers |  |  | 9
| util |  |  | flour |  |  | 9
| bath |  |  | sconce, fan combo |  |  | 2
| stairs |  |  | flour |  |  | 4
2 | corridor |  |  | cans |  |  | 16
| stor mech |  |  | fluor |  |  | 2
| laundry |  |  | fluor |  |  | 2
| stairs |  |  | fluor |  |  | 4
3 | corridor |  |  | cans |  |  | 16
| stor mech |  |  | fluor |  |  | 2
| laundry |  |  | fluor |  |  | 2
| stairs |  |  | fluor |  |  | 4
4 | corridor |  |  | cans |  |  | 14
| stor mech |  |  | fluor |  |  | 3
| stairs |  |  | fluor |  |  | 4
5 | stairs |  |  | fluor |  |  | 2
| TOTAL FIXTURES | [5 empty] | 118

## pricing calcs (hidden)
ITEM |  | total from | qty from | resulting
| Component/type | DD est | Ddest | Cost per | unit
Exterior Siding / Sealants
| Lap Siding | 175000 | 24500 | 7.1429 | /sf | from evertt
| Sealants | 31090 | 41600 | 0.74736 |  | from evertt
|  |  |  | 7.8902 | /sf | from evertt
Exterior Painting |  | 59500 | 22000 | 2.7045 | /sf | from evertt
Windows (Plastic, 3x, VPI |  | 21000 | 14 | 1500 | ea | from bid
Doors Storefront Fiberglass |  | 5700 | 6 | 950 | ea | from evertt
Roof Surface: Hot Tar
| Metal | 156250 | 16549 | 9.4417 | /sf | from evertt
| Thermoplastic Membrane | 5040 | 336 | 15 | /sf | from evertt
|  | 125421 | 7333 | 17.1036 | /sf | from Devoe est
Roof Components
Exterior lighting
AV security
Parking Lot Asphalt Paving |  | 47828 | 12000 | 3.9857 | /sf | from Devoe bse bid
| sealcoat and striping | 6808 | 13000 | 0.52369 | /sf | from Woodlake
| markings |  |  | 3968 |  | from Devoe est
Irrigation
Landscaping
Outdoor concrete & Gravel path |  |  |  | 72261 | ea | from Devoe bse bid
INTERIORS
Painting |  |  |  | 0.86 |  | from Glenwood
|  | 85000 | 186277 | 0.45631 | /sf | from everett
Flooring
| LVT | 125666 | 27025 | 4.65 | /sf | from everett
| Sheet Vinyl | 7392 | 3520 | 2.1 | /sf | from everett
| stained concrete stain seal | 21700 | 6200 | 3.5 | /sf | from everett
| rubber treads | 8100 | 1350 | 6 | /sf | from everett
Appliances
refr
| range | 34213
| hood | 21250
dishwasher
| TOTAL |  |  | 97478 | total | from Devoe Summ
Cabinets, |  |  |  | 150947 | total | from Devoe Summ
counters, sills |  |  |  | 32000 | total | from Devoe Summ
wainscot backsplash |  |  |  | 8281 | total | from Devoe Summ
|  |  |  | 191228 | total | Summ
|  |  |  | 47807 | est for Bathroom (25%)
|  |  |  | 143421 | est for Kitchen (75%)
Plumbing |  |  |  | 59500 | shower Tub | from Devoe Summ
|  |  |  | 90000 | fixtures trim | from Devoe Summ
|  |  |  | 22500 | est for Bathroom (25%)
|  |  |  | 67500 | est for Kitchen (75%)
Lighting |  |  |  | 120 | guestimate
HVAC | cove heater, bath fan |  |  | 150 | guestimate